Tuning notes for PI E-712 using interferometer feedback

Noise:

With the stage in open loop and the P and I terms turned off I did a noise measurement while the endstation is still in the clean room.

Chan 1 X1 Horizontal: approx 65Hz vibration, amplitude of 2.3um

Chan2 Z1 Vertical: approx 90Hz vibration, amplitude of 0.88 um

NOISE MEASUREMENTS before Foam

X1 interferometer

Z1: Interferometer

X2: Capacitance

Z2: Capacitance

After foam

X1: Interferometer

Z1: interferometer

X2: capacitance

Z2: capacitance

AFTER TUNE

X1: configured for INterferometer

Z1: configured for INterferometer

X1: configured back to capacitance with same PID params

Z1: configured back to capacitance with same PID params